## CTPase assay for dynein (colorimetric)

### Reagents:

1 mM phosphate solution for std. curve: 0.136 g KH2PO4 per L H2O

CTP mix: 10 mM CTP (sodium salt) in 10 mM MgCl

Ammonium Molybdate: 4.2 g molybdic acid + 28.6 ml concentrated H2SO4 in 1 L H2O

Ascorbate: 13% ascorbic acid in H2O

10% SDS (use extra-pure stuff)

MT mix: 5-10 mg/ml DEAE tubulin with 10 mM taxol, warm briefly, make fresh.

Make all solutions with Milli-Q water!

### Protocol:

1. Make std. curve: 0, 5, 10, 15, 20, 25, 30 l phosphate solution in 100 l H2O.

2. Make - MT/CTP blank (subtract from basal activity samples):

40 l H2O

40 l P100

10 l PEM

10 l CTP mix (add last, right before incubation)

3. Make + MT/CTP blank  (subtract from microtubule-activated samples)

40 l H2O

40 l P100

10 l MT mix

10 l CTP mix (add last, right before incubation)

4. Make sample blanks (subtract from appropriate samples):

50 l H2O

40 l each sample

10 l PEM

5.  Basal activity samples:

40 l H2O

40 l each sample

10 l PEM

10 l CTP mix (add last)

6. MT activated activity samples:

40 l H2O

40 l each sample

10 l MT mix

10 l CTP mix (add last)

7. Incubate all tubes at 37 degrees, 30 minutes exactly.  Start incubation immediately after adding CTP mix to tubes.

8. Stop each reaction with 900 l STOP mix. Make STOP mix fresh and use immediately.  Stop mix should be very light yellow.  If stop mix is greenish, do not use--make sure reagents are in Milli-Q water and make fresh.

For 45 ml STOP mix:

30 ml molybdic acid stock

5 ml ascorbic acid stock

2.5 ml 10 % SDS

7.5 ml Milli-Q water

9. To develop, incubate stopped reactions 20 min at 45 degrees or 60 min at 37 degrees or 90 min at room temp.

10. Read absorbances at 820 nm.

11. Calculate specific activities.  Subtract sample blanks and CTP blanks from appropriate reactions first.

SA= (corrected abs) x (1/slope of std. curve) x (1/min) x (1/ml) x (1/mg/ml protein)= nmol Pi/min/mg

example: for a 30 min assay time, 40 l samples with 0.04 mg/ml protein, and a std curve slope of 0.02:

SA= (corrected abs) x (1/.02) x (1/30min) x (1/.04 ml) x (1/.04)

1/95, Trivinos